## Slide 2: Rantoul Fiber Link
Fiber Loop from UIUCRantoulUIUC
52.6km of fiber
~18.5dB of loss at 1550nm

## Slide 3: Polarization Stability
Send different wavelengths utilizing tunable laser
  1540-1560nm
Measure the polarization after sending light of different wavelengths through the loop over multiple hours

## Slide 4: Polarization Stability
See Frequency based polarization drift for the H/V basis